State of California

|  | Tax Credit Allocation Committee |
| --- | --- |

Minimum Construction Standards

Placed in Service Certification

| Project Name: |  |
| --- | --- |
| CTCAC Number: | CA- - |

CHECK THE RELEVANT BOXES AND SIGN BELOW

An architect or energy analyst with demonstrated experience according to CTCAC requirements must certify to the following:

- In lieu of this certification for minimum construction standards, project has a LEED, PHIUS, Passive House, Living Building Challenge, National Green Building Standard ICC / ASRAE – 700 silver or higher rating, or GreenPoint Rated Program certification.

- This project received a partial or full waiver to the requirements of the Minimum Construction Standards below. (Waiver documentation attached)

- Minimum Construction Standards

Landscaping.  If landscaping is to be provided or replaced, a variety of plant and tree species that require low water use shall be provided in sufficient quantities based on landscaping practices in the general market area and low maintenance needs. Projects shall follow the requirements of the state Model Water Efficient Landscape Ordinance (http://www.water.ca.gov/wateruseefficiency/landscapeordinance/) unless a local landscape ordinance has been determined to be at least as stringent as the current model ordinance.

Roofs.  Newly installed roofing shall carry a three-year subcontractor guarantee and at least a 20-year manufacturer’s warranty.

Exterior doors.  If exterior doors are to be provided or replaced, insulated or solid core, flush, paint or stain grade exterior doors shall be made of metal clad faces, hardwood faces, or fiberglass faces, with a standard one-year guarantee and all six sides primed.

Appliances.  All Low-Income Units shall provide a refrigerator. All non-SRO Low-Income Units shall provide a range (cooktop and oven), and all SRO Low-Income Units shall include a cooking facility (at least a cooktop or microwave). The Executive Director may waive the refrigerator and cooking facility requirement for SRO units if the project includes a common area kitchen facility for tenants. Refrigerators, dishwashers, clothes washers, and dryers provided or replaced within Low-Income Units and/or in on-site community facilities shall be ENERGY STAR rated appliances, unless waived by the Executive Director.

Window coverings.  Window coverings shall be provided and may include fire retardant drapes or blinds.

Water heater.  If water heaters are to be provided or replaced, for Low-Income Units with individual tank-type water heaters, minimum capacities are to be 28 gallons for one- and two-bedroom units and 38 gallons for three-bedroom units or larger.

Floor coverings.  If floor coverings are to be provided or replaced, a hard, water resistant, cleanable surface shall be required for all kitchen and bath areas. Any carpet provided or replaced shall comply with U.S. Department of Housing and Urban Development/Federal Housing Administration UM44D.

All fiberglass-based insulation provided or replaced shall meet the Greenguard Gold Certification (http://greenguard.org/en/CertificationPrograms/CertificationPrograms_childrenSchools.aspx).

ARCHITECT or ENERGY ANALYST CERTIFICATION

ARCHITECT CERTIFICATION

I/We, as the architectural firm contractually responsible for verifying the above-referenced project, hereby certify—consistent with the definition set forth in Business and Professions Code Section 5536.26—that each of the individual items identified above has been incorporated into the design and construction of the project. I/We further certify that the firm holds all certifications required under CTCAC Regulations for each of the individual items identified above.

| Architect Firm Name (print) |  | Architect Name (print) |  | State & License Number |
| --- | --- | --- | --- | --- |
| Architect Title (print) |  | Architect Signature |  | Date |

ENERGY ANALYST CERTIFICATION

I/We, as the energy consulting firm contractually responsible for energy-efficiency, sustainable-building, and green-building verification for the above-referenced project, hereby certify that each of the individual items identified above has been incorporated into the design and construction of the project. I/We further certify that the firm holds all certifications required under CTCAC Regulations for each of the individual items identified above.

| Firm Name (print) |  | Energy Analyst Name (print) |  | License Type & Number(s) |
| --- | --- | --- | --- | --- |
| Energy Analyst Title (print) |  | Energy Analyst Signature |  | Date |